### Toolbox Talk Template: Fire

Title: Fire Procedures in Construction

Introduction:
Today’s toolbox talk will focus on fire procedures in construction sites in the UK, ensuring compliance with current legislation, safeguarding workers, and preventing damage to property. It is essential to understand the risks and have proper procedures in place.

Presenter Name and Role:
[Insert Name & Role]

Purpose of Today’s Toolbox Talk:
In today’s 10-minute session, we’ll cover:

- Key legislation for fire safety on construction sites.

- Identifying common fire hazards on construction sites.

- Effective fire prevention measures.

- Fire safety training and fire evacuation procedures.

- The importance of Personal Protective Equipment (PPE) for fire safety.

### Key Content:

1. Key Legislation

- The Regulatory Reform (Fire Safety) Order 2005: The key piece of legislation that applies to non-domestic premises, including construction sites, requiring a fire risk assessment and fire safety measures.

- Health and Safety at Work etc. Act 1974: Employers must ensure the health and safety of their employees, including protection from fire hazards.

- Construction (Design and Management) Regulations 2015 (CDM Regulations): Ensures fire risks are minimized during the construction phase.

- The Fire Safety (Scotland) Act 2005: Requires fire safety provisions for construction sites in Scotland.

2. Fire Hazards on Construction Sites

Construction sites are particularly prone to fire risks due to:
• Flammable materials (paints, solvents, chemicals, fuels)
• Electrical installations (temporary electrics, power tools)
• Hot works (welding, cutting, grinding)
• Smoking and open flames
• Waste materials (timber, plastics)

3.  Fire Prevention Measures

- Fire Risk Assessment: A risk assessment should be carried out to identify fire hazards and assess risks before the work begins and reviewed regularly.

- Control of Hot Works: Ensure a fire watch is assigned, the area is clear of flammable materials, and fire extinguishers are available.

- Safe Storage of Flammable Materials: Store fuels and chemicals in designated areas away from ignition sources.

- Electrical Safety: Ensure all temporary electrical installations are regularly inspected and meet legal requirements.

- Fire Extinguishers & Site Safety Measures: Ensure extinguishers are available, escape routes are clear, and all workers know emergency exits and alarm locations.

4. Fire Safety Training and Evacuation Procedures

- Fire Safety Training: Ensure workers know where fire exits, alarms, and extinguishers are, how to report fires, and the correct use of fire-fighting equipment.

- Fire Evacuation Plans: There should be a clearly marked evacuation plan and a designated assembly point.

- Raising the Alarm and Headcounts: Ensure workers know how to raise the alarm and conduct a headcount after evacuation.

5. Personal Protective Equipment (PPE) for Fire Safety

Workers must wear appropriate PPE such as:
• Fire-resistant clothing if necessary.
• Gloves and safety goggles for working with flammable substances.
• Respirators for working in smoke or fumes.

### 3 Key Takeaways:

- Fire safety legislation is critical to ensuring a safe work environment on construction sites.

- Identifying and mitigating fire hazards early can prevent dangerous incidents.

- Regular fire safety training, awareness, and PPE are essential for minimizing risks.

Closing Summary:
Construction sites are vulnerable to fire hazards, but by identifying risks early, implementing safety measures, and maintaining training and equipment, we can reduce these dangers. Compliance with UK fire safety legislation is essential to protect lives and property. Always report fire hazards or unsafe practices immediately, and remember—safety is everyone’s responsibility.